| Manufacturer | SCHILLER Australia Pty Ltd www.schiller.com.au 02 49542442 |  |
| --- | --- | --- |
| Model/s | FRED Easy |  |
| Short description | FRED Easy uses Schiller’s patented myocardium saving energy emission called Multipulse Biowave. Independent studies have shown that MPBW causes much fewer ST alterations in the ECG and triggers significantly less CK and myoglobin in the blood. This reduced myocardium damage increases the chance of survival especially in ischemic hearts. FRED Easy is available in a number of different models including Ethernet and Networkable versions that make the management of multiple defibrillators extremely easy. Any number of units can be managed and monitored. |  |
| Model Size | 230mm x 220mm x 70mm |  |
| Model Weight | 1.5 kg including battery |  |
| Compliance | Theraputic Goods Administration (TGA) Approved | Yes |
|  | International Organisation of Standards (ISO) | Yes ISO 60601-1-2 |
|  | CE marking | Yes |
|  | other | Flight worthiness cert. RTCA/DO 160 D 1997 section 21 |
| Battery | Type | Li-Mn02 |
|  | Self check | yes |
|  | Capacity | 240 shocks @150 joules |
|  | Shelf life | 5 years |
| Electrodes | Shelf life | Normally two years |
|  | Cable length | 2 metres |
| Guideline algorithm | Australian Resuscitation Yes European Resuscitation yes Other AHA |  |
| Voice prompt | (Language and nationality) English /English |  |
| Memory | Type | SD card |
|  | Duration | 60 shocks and two hrs monitoring |
|  | Software | Windows based software supplied free of charge |

Pictures here of:

Model in closed position with electrodes

Model in open position