| Manufacturer | ZOLL Medical Australia www.zoll.com.au 1800 605 555 |  |
| --- | --- | --- |
| Model/s | 1. AED Plus |  |
| Short description | The AED Plus gives the infrequent rescue the confidence they need to save lives. With features such as: - Support for the full chain of survival , with easy to understand visual prompts and audio cues - Real CPR help with instant feedback on the rate and depth of compressions - Easy to place, one piece CPR-D padz - Use of off the shelf lithium camera batteries - Rugged design that resists dust and water spray (IP55 rating) |  |
| Model Size | 13.3cm x 2d.1cm x29.2cm deep |  |
| Model Weight | 3.1 kg |  |
| Compliance | Therapeutic Goods Administration (TGA) Approved | Yes |
|  | International Organisation of Standards (ISO) | Yes |
|  | CE marking | Yes |
|  | other |  |
| Battery | Type | Lithium camera batteries |
|  | Self check | Daily |
|  | Capacity | 300 continuous shocks or at least 13 hours continuous monitoring time |
|  | Shelf life | 5 years |
| Electrodes | Shelf life | 5 years |
|  | Cable length | 91cm |
| Guideline algorithm | Australian Resuscitation |  |
| Voice prompt | English (comprehensive prompts with real CPR help feedback on the depth and rate of compressions in addition to walking the rescuer through the full chain of survival ) |  |
| Memory | Type | Internal |
|  | Duration |  |
|  | Software | Free to download ZOLL codereview |