| Manufacturer | ZOLL Medical Australia www.zoll.com.au 1800 605 555 |  |
| --- | --- | --- |
| Model/s | 1. Semiautomatic mode defibrillation with CPR monitoring 2. Semiautomatic mode defibrillation with CPR monitoring and Manual override. |  |
| Short description | Designed with advanced capabilities, the ZOLL AED Pro supports Basic Life Support as well as Advanced Life Support professionals with: - Real CPR help that provides instant feedback on rate and depth of compressions - Easy to place one piece CPR-D padz - ECG monitoring with 3 lead cable and high quality display - Rechargeable or disposable batteries - Rugged design that resists dust and direct water spray (IP55), and a 1.5 meter drop test. |  |
| Model Size | 7.6cm x 23.5cm x 29.9cm deep |  |
| Model Weight | 2.9kg with disposable battery and electrodes |  |
| Compliance | Therapeutic Goods Administration (TGA) Approved | Yes |
|  | International Organisation of Standards (ISO) | Yes |
|  | CE marking | Yes |
|  | other |  |
| Battery | Type | Rechargeable Sealed lead acid. Disposable lithium manganese. Rechargeable lithium manganese |
|  | Self check | Daily |
|  | Capacity | Rechargeable SLA, 170 defibrillations or 6 hours ECG monitoring. Disposable lithium, 300 defibrillator charges or 13 hours continuous monitoring Rechargeable lithium, 300 defibrillation charges 13 hours monitoring |
|  | Shelf life | Rechargeable, 1.5 years. Disposable lithium 5 years. Rechargeable lithium 3 years. |
| Electrodes | Shelf life | 5 years |
|  | Cable length | 91cm |
| Guideline algorithm | Australian Resuscitation |  |
| Voice prompt | English (comprehensive prompts with real CPR help and See thru CPR) |  |
| Memory | Type | Internal non volatile memory |
|  | Duration | With audio recording enabled , 20 minutes of ECG and operator device actions; without audio recordings 7 hours of ECG data (4 rescue capability) |
|  | Software | Free to download ZOLL Codereview |

AED PRO