| Manufacturer | Cardiac Science www.cardiacscience.com.au (03) 9429 2666 |  |
| --- | --- | --- |
| Model/s | 1. Powerheart AED G3 Plus (9390E) 2. Powerheart AED G3 Automatic Plus (9390A) 3. Powerheart AED G3 Pro (9300P) 4. First Save AED G3 (9300C) |  |
| Short description | Cardiac Science has a complete range of automated External Defibrillators. The AED’s perform comprehensive daily, weekly and monthly self testing ensuring it will work first time every time. The AED’s have industry leading 7 year warranty along with a 4 year battery warranty. The units are available in either semi-automatic or fully automatic with no buttons. The unique features of the Powerheart AED’s provide users with the ability to ensure they receive the features they are looking for! |  |
| Model Size | 8 x 27 x 31 cm |  |
| Model Weight | 3.1 kgs |  |
| Compliance | Theraputic Goods Administration (TGA) Approved | Yes |
|  | International Organisation of Standards (ISO) | Yes |
|  | CE marking | Yes |
|  | other |  |
| Battery | Type |  |
|  | Self check | Daily, weekly, monthly of all critical components |
|  | Capacity | 290 shocks, 20 hours monitoring |
|  | Shelf life | 4 year warranty (5 year shelf life) |
| Electrodes | Shelf life | 2 years |
|  | Cable length | 1.3 m |
| Guideline algorithm | Australian Resuscitation European Resuscitation Other |  |
| Voice prompt | English (comprehensive prompts with CPR Rescue Coaching) |  |
| Memory | Type | Internal |
|  | Duration | 60 minutes (multiple rescue capability) |
|  | Software | Included |

Pictures here of:

Model in closed position with electrodes

Model in open position