| Manufacturer | Philips Healthcare Distributed by Laerdal Pty Ltd www.laerdal.com.au Free Call: 1800 331 565 |  |
| --- | --- | --- |
| Model/s | HeartStart FRx (861304ABU) |  |
| Short description | The HeartStart FRx is an easy to use, rugged and reliable AED for those who get there first. It incorporates a number of features to make sure it is ready when needed with a minimum of maintenance required. With its high International Protection rating of IP55 it is ideal for industrial and construction sites, use near water and extreme environments. |  |
| Model Size | (H) 6cm x (W) 22cm x (D) 18cm |  |
| Model Weight | 1.5kg |  |
| Compliance | Theraputic Goods Administration (TGA) Approved | Yes |
|  | International Organisation of Standards (ISO) | Yes |
|  | CE marking | Yes |
|  | IP Rating | IP55 |
| Battery | Type | Lithium Manganese Dioxide |
|  | Self check | Daily automatic self-tests (internal circuitry, waveform delivery system, pads cartridge and battery capacity) |
|  | Capacity | 200 shocks, 4 yrs standby |
|  | Shelf life | Install-by date at least 5 yrs from date of manufacture |
| Electrodes | Shelf life | 12-18 months from date of manufacture |
|  | Cable length | 122cm |
| Guideline algorithm | Australian Resuscitation Council |  |
| Voice prompt | English (Australian) with CPR assistance |  |
| Memory | Type | Internal |
|  | Duration | First 15 minutes of ECG and the entire incident’s events and analysis decisions. |
|  | Software | HeartStart Event Review Software available for download. |

Pictures here of:

Model in closed position with electrodes

Model in open position